TENDER REF NO. JKGB/GAD/BATTERIES/2024-25/5274              DATED: 14-11.2024

TENDER FOR RATE CONTRACT FOR SUPPLY AND INSTALLATION OF UPS BATTERIES AND GENSET BATTERIES IN J&K GRAMEEN BANK

- Disclaimer

The information contained in this Tender document or any information/documents provided subsequently to vendor(s) whether verbally or in documentary form by or on behalf of the Bank is provided to the vendor(s) on the terms and conditions set out in this Tender document and all other terms and conditions subject to which such information is provided. This Tender is neither an agreement nor an offer and is only an invitation by Bank to the interested parties/Vendors for submission of bids. The purpose of this Tender is to provide the vendor(s) with information to assist the formulation of their proposals. While effort has been made to include all information and requirements of the Bank, this Tender does not claim to include all the information each vendor may require. The Bank makes no representation or warranty and shall incur no liability under any law, statute, rules or regulations as to the accuracy, reliability or completeness of this Tender. The Bank may in its absolute discretion, but without being under any obligation to do so, update, amend, supplement or annul the information in this Tender.

# Brief about J&K Grameen Bank:

“J&K Grameen Bank”, a Regional Rural Bank created by amalgamation of Jammu Rural Bank and Kamraz Rural Bank by Government of lndia while exercising power conferred by Sub-Section (1) of section 23(A) of the Regional Rural Bank's Act,1976 vide notification dated 30th June 2009, issued by Ministry of Finance, Department of Financial Services, carrying on Banking Business, having its Head office at Narwal, Jammu, Pin-180006, Jammu and Kashmir, hereinafter referred to as the “Bank”.

Detailed information about J&K Grameen bank is available at Banks website www.jkgb.in.

# Objective of Tender

# To enter into rate contract with eligible vendor for Supply and Installation of UPS Batteries and Genset Batteries for Branches / Offices of the Bank located in UT of J&K and UT of Ladakh for a period of 02 years.

# The Tender document can be downloaded from official web site of the Bank www.jkgb.in Other details i.e. specifications and Terms and Conditions will be available along with the Tender document.

# Schedule for Tender Process:

| - TENDER Ref. No. | JKGB/GAD/ BATTERIES/2024-25/5274 Dated: 14.11.2024 |
| --- | --- |
| - Scope of Work | # Rate Contract for Supply and Installation of UPS Batteries and Genset Batteries for Branches / Offices of the Bank located in UT of J&K and UT of Ladakh for a period of 02 years. |
| - Mode of Tender Submission | Offline |
| - Contact details for correspondence regarding this TENDER | Mr.Rajeev Gupta General Administrative Department, J&K Grameen Bank Head Office, Narwal-180006, Jammu E-mail: Rajeev.gupta@jkgb.in/pdg.hoj@jkgb.in Contact No. 9797127377 / 7006415918 |
| - Tender Type | Open - Two Bid System – Technical Bid and Commercial Bid |
| - Base Currency | INR (₹) |
| - Consortium | Consortium Bids are not allowed. |
| - Tender Document Availability | Document can be downloaded from the Bank’s website: www.jkgb.in upto 06.12.2024 |
| - Pre-bid queries | Interested vendors may submit their queries at rajeev.gupta@jkgb.in upto 22.11.2024 |
| - Pre-bid Conference | 25.11.2024 at 11:00 A.M. at JKGB Head Office, Narwal, Jammu |
| - Last date and time for Bid submission | 06.12.2024 upto 05:00 P.M |
| - Address for submission of Sealed Tender | The General Manager, J&K Grameen Bank Head Office, Near Fruit Complex Narwal-180006, Jammu |
| - Technical Bid opening date | 07.12.2024 at 3:00 PM at JKGB Head Office, Narwal, Jammu |
| - Commercial Bid opening date | To be communicated separately to technically qualified vendors only |
| - Project Duration | Two (02) years |
| - Tender Fee (Non-refundable) | Rs.1,770/- (Rupees One thousand Seven hundred and seventy Only) to be deposited in the below mentioned account: Account name : 2000530100000217 Account Name: Tender Fee IFSC: JAKA0GRAMEN Bank Name: J&K GRAMEEN BANK Branch: Head Office |
| - EMD (Earnest money Deposit) Amount (₹) | EMD of Rs.50,000/- (Rupees Fifty Thousand only) in the form of TDR pledged to the General Manager J&K Grameen Bank, Head Office, Jammu. Validity of EMD should be atleast 06 months |

- INSTRUCTIONS TO THE VENDORS:

    - Vendors are required to submit details about their firm / organization, experience, technical personnel in their organization / firm, Letter of Authorization/dealership Certificate from the manufacturer/ Parent Company (OEM), competence and adequate evidence of their financial standing etc. and should submit duly signed and stamped copies of all the required documents and Annexures enclosed with the tender document.

    - Each page of the tender should be duly signed and stamped by the vendor or authorized signatory (Power of Attorney should be provided).

    - The Vendors are advised to submit 02 sealed envelopes in a single envelope as per details mentioned below:

- Sealed Envelope -1: All documents like tender document, Annexures, EMD, Tender fees receipt any other relevant document should be enclosed in Sealed Envelope – 1 and named as “Technical Bid regarding  supply and installation of UPS Batteries and Genset Batteries ”.

- Sealed Envelope -2: Duly filled Commercial Bid as per Annexure - 5 should be enclosed in Sealed Envelope – 2 and named as “Commercial Bid regarding supply and installation of UPS Batteries and Genset Batteries ”.

NOTE: Both sealed envelopes should be enclosed in a single Sealed Envelope and named as “Rate Contract for supply and installation of UPS Batteries and Genset Batteries for Branches / Offices of the Bank located in UT of J&K and UT of Ladakh for a period of 02 years “. Vendor should clearly mention the name of the firm, valid e-mail address and contact no. on all 03 sealed envelopes.

    - The sealed envelope should be addressed to

"The General Manager, J&K Grameen Bank Head Office, Near Fruit Complex Narwal-180006, Jammu".

    - Clarifications if any, may be sought from General Administrative Department of J&K Grameen Bank, Head Office at pdg.hoj@jkgb.in/ rajeev.gupta@jkgb.in

    - Canvassing in any form is strictly prohibited and the tender of such vendors who are found involved in canvassing will liable to be rejected / blacklisted.

    - Tender shall be rejected if the envelope is not sealed or if any conditional tender is submitted by the vendor.

    - The intending vendors are categorically advised to submit all documents strictly in the attached formats only. The information required should be neatly filled/ typed in each and every columns and row of the Formats. The applications received without properly filled formats and without containing desired information in each and every columns/points/row of various Annexures shall be treated as INCOMPLETE and such tenders shall be summarily rejected without any reference to the vendor and at the vendor’s risk and responsibility.

    - J&K Grameen Bank reserves the right to reject any or all the tenders without assigning reasons thereof.

- TERMS AND CONDITIONS:

The following terms and conditions will be binding on all the Vendors. These terms and conditions will also form a part of the Service Level Agreement, to be executed by the Successful Vendor and shall be applicable during the complete term of the agreement with the Successful Vendor/s:

- Brands: Amaron, Exide only with the following technical Specifications:-

Item:				Batteries for UPS

Type:				Dry & SMF (Sealed Maintenance Free)

Voltage:			12V; 18/ 26/ 42 AH

Approved Make:		Exide/ Amaron

- Vall Regulated Lead Acid Battery (VRLA)

Item:				Batteries for Genset

Type:				MF (Maintenance Free)

Voltage:			12V; 88 AH

Approved Make:		Exide/ Amaron

- Lead Acid Battery.

- Tender fees (non- refundable) of Rs.1,770/- (One thousand seven hundred and seventy only), to be remitted through NEFT / IMPS as per below mentioned details:

- A/C No.    :     2000530100000217

- A/c Name:      Tender fee

- IFSC         :        JAKA0GRAMEN

- Bank Name:    J&K Grameen Bank

- Branch: Head Office

- The supplier warrants to the Bank that upon delivery, all materials, apparatus/ equipment’s to be provided under this order shall be new from the original manufacturer, free from any defects and all components thereof will fulfil the performance data characteristics and properties and serve the purpose with maximum operational dependability.

- Safety: The Supplier shall at all times conduct his operation in such a manner so as to avoid any risk of bodily harm to persons or damage to property. In addition, the supplier shall comply with all the applicable safety standard codes and regulations.

- No price variations shall be allowed for any rise or fall in cost of Labour, materials or any other factors influencing the order price.

- Site of Installation: The site of installation shall cover all the existing/new  branches/ offices of J&K Grameen Bank within the UT of J&K and Ladakh.

- Checking of Records: J&K Grameen Bank can at any point of time check the books & records of the successful bidder.

- The Contract period shall be for a period of 02 years, on already agreed Terms & Conditions. Tenderers are advised to quote rates after examining the whole tender document.

- The Earnest Money of Rs.50,000/- (Rupees Fifty Thousand only) in shape of TDR pledged to the GENERAL MANAGER, J&K Grameen Bank should be accompanied with the Tender. Any Tender without EMD will out rightly be rejected by the bank. The TDR may be of any branch of J&K Grameen Bank or any branch of a Scheduled Commercial Bank. Firms / Suppliers registered with Director General of Supplies & Disposals (DGS&D), National Small Industries Corporation (NSIC), Govt. approved sources are exempted. Tender without EMD shall be considered incomplete and shall be rejected. In case a successful vendor fails to provide services as per the Terms & Conditions of the Service Level Agreement, the earnest money shall be forfeited.

- Earnest Money of successful vendor shall be released after submission of Service Level Agreement and Performance Bank Guarantee.

- EMD of unsuccessful vendors shall be released within 02 months after the completion of Tender process. The unsuccessful vendors have to collect the instrument (in original) from General Administrative Department, JK Grameen Bank Head Office Jammu after submitting an application to release the EMD in their favor. Information regarding release of EMD in favor of unsuccessful vendor shall be provided via mail (as mentioned in the tender document of the vendor). Loss of EMD of unsuccessful vendors (if not collected by them within 02 months w.e.f. the date of communication) shall be the sole responsibility of the said vendor. The bank shall not be responsible for loss of instrument after the afore-mentioned time.

- Performance Bank Guarantee: Performance Bank Guarantee amounting to 50,000/-(Rupees Fifty thousand only) has to be submitted by the successful vendor in the form of TDR or Bank Guarantee from J&K GRAMEEN BANK or any Scheduled commercial bank which should be valid for a period of 04 years and 02 months. Failure of successful vendor to provide the services within the stipulated time shall entail invocation of performance Bank Guarantee or forfeiture of TDR or any other form of deposit as the case may be.

- The contract shall come into effect w.e.f date of issue of Rate Contract Order by the Bank and shall be binding on the successful vendor. The vendors are advised to ensure that they have proper staff and Office both in Jammu region and Kashmir region.

- TDS and GST TDS will be deducted from all Bills at the prescribed rates applicable from time to time.

- The rates finalized shall remain valid for two (02) years.

- The successful vendor shall provide the services w.e.f. date of issue of Rate Contract Order by the Bank failing which the Bank shall be at liberty to cancel the contract of the defaulting vendor and the earnest money/PBG of the successful vendor shall be forfeited without assigning any reason. Besides, the Bank shall be entitled to recover from the successful vendor any loss/damages which the bank may incur due to default of the successful vendor.

- The vendor has to provide the mobile numbers of the technicians deployed to Bank. Further, Call Escalation Matrix should be provided for resolution of complaints. Also the technicians must carry a valid Identity Card while visiting Bank’s Branches / offices.

- Bank, if not satisfied with the services provided by the successful vendor i.e. if there is delay in providing services to the Branches, Bank may cancel the entire contract and invoke the Performance Guarantee/EMD including black-listing of the vendor.

- The Bank reserves the right to accept/reject any Tender/or all Tenders without assigning any reason thereof.

- The conditional Tenders shall be rejected out rightly and no correspondence of any nature shall be entertained.

- The Vendor should also provide Declaration regarding not-being blacklisted or otherwise and Declaration that the documents attached in response to this bid are genuine and bonafide to be submitted.

- Bank may disqualify the vendor, if at any time, it is found that any information submitted by the vendor/service provider as mentioned in the Tender document is false or materially inaccurate/incomplete/incorrect.

- Dispute: If a dispute of any kind, whatsoever, arises between the Bank and vendor/successful vendor in connection with or arising out of the contract of supply of goods/providing of service, whether before or after the repudiation or termination of the contract, including any  disagreement by either party with any action, in-action, determination; matter in dispute shall be referred to the Internal Dispute Resolution Committee of the Bank.

- Jurisdiction: All disputes between the parties after the repudiation/cancellation, termination, or abandonment thereof shall be referred to a sole arbitrator for adjudication through arbitration, if reference thereof to Dispute Resolution Committee of the Bank is not acceptable to the vendor/service provider as the case may be, the arbitration shall be conducted in accordance with the provisions of the Arbitration and Conciliation Act 1996. The Courts in Jammu alone shall have jurisdiction over such arbitration proceedings.

- The resultant contract will be interpreted under Indian & J&K UT Laws.

- Vendors are not permitted to alter or modify their bids after submission of the tender document.

- The Tenderer should sign & affix his/her firms stamp on each page of the Tender documents and all its related documents. Tender documents not containing signature and stamp of the vendor/ firm shall be rejected.

- The successful vendor has to submit duly signed and stamped notarized Service Level Agreement and PBG to the Bank within 10 days from the date of issue of Rate Contract Order by the Bank, on the agreed Terms & Conditions. Format of Service Level Agreement shall be provided to the successful vendor.

- Bank shall have the right to call upon the information regarding status of Supply Order at any point of time.

- Sensitive Information: Any information considered sensitive must be protected by the vendor  from unauthorized disclosure, modification or release or access. The Successful Vendor has to sign a Non-Disclosure Agreement with the Bank.

- The vendor undertakes to ensure that upon delivery, all materials, apparatus/equipment to be provided under this order shall be new from original equipment manufacturer (OEM), free from any defects and all components thereof will fulfil the performance data characteristics and properties and serve the purpose with maximum operational dependability.

- SUPPLY ORDERS:

- L-1 vendor has to supply and install the UPS Batteries and Genset Batteries as and when required by the Bank within 03 working days from the date of the issuance of Supply Order.

- Supply Orders shall be placed with the L-1 vendor at the rate finalized by the Bank any time during the contract period of 02 years. The vendor has to supply and install the required Batteries at the Branch / Office specified in Supply Order at the tendered rates. Contact details of the Branch / Office shall be mentioned on the Supply Order.

- The vendor shall at all times conduct his operation in such a manner so as to avoid any risk of bodily harm to persons or damage to property. In addition, the vendor shall comply with all applicable safety standard codes and regulations.

- WARRANTY:

- The vendor shall provide a comprehensive warranty of minimum 02 Years from the date of installation of UPS Batteries and Genset Batteries and full replacement within warranty period of 02 years in case of any fault in UPS Batteries and Genset Batteries.

- The Warranty period shall commence from the date of successful completion & installation of Batteries at site.

- The supplier at his cost will rectify any defect developed during the warranty period, which may include replacement of defective part or replacement of batteries within specified time limit of 05 days. The supplier must possess a technical support in Jammu as well Kashmir Division so as to provide prompt services during the warranty period.

- Batch code and warranty card mentioning the year and month of the batteries supplied from OEM to be submitted.

- Suppliers will engrave/emboss/punch date of installation on all batteries and it shall be clearly visible to user.

- PAYMENT TERMS: Payment shall be released in the following manner:

- Total bill after deducting the applicable TDS/GST shall be released within 15 days after submission of duly verified bill and commissioning certificate by the Branch Head / Incharge.

- Vendor should handover the original Bill and Commissioning report at respective Branch / Office and should also submit the soft copy of the same at the following e-mail address: pdg.hoj@jkgb.in failing which the payment shall not be released.

- Payment shall be released only after submission of PBG and SLA.

- PENALTY:

- Penalty on account of non-submission of PBG and Service Level Agreement by L-1 vendor: If L-1 vendor fails to submit the PBG and Service Level Agreement within 10 days from the date of issue of Rate Contract Order by the Bank, due to any reason; Bank may cancel the entire contract of the said vendor. Further, the EMD submitted by the said vendor shall be forfeited. In such cases, Bank reserves the right to execute the contract with L-2 bidder.

- Penalty on account of non-compliance of Supply Order by L-1 vendor within the stipulated time: If L-1 vendor fails to supply and install the batteries at the respective site within stipulated time as mentioned at Para 32 above from the date of issue of Supply Order due to any reason, penalty @Rs.200/- per day shall be imposed subject to a maximum of Rs.2,000/-. For delays more than 10 days PBG shall be forfeited and Bank may cancel the contract of the said vendor. Further, the said vendor shall be black-listed. The same shall be intimated to Indian Banks' Association.

- Penalty on account of non-rectification of any fault arises during the Warranty period:         If L-1 vendor fails to replace the faulty batteries during the warranty period within 05 days w.e.f the date of intimation of such defect to the vendor (complaints shall be lodged on the e-mail address provided by the vendor), due to any reason, penalty @Rs.200/- per day shall be imposed subject to a maximum of Rs.2,000/-. In case of default, Bank may utilize the services of other agencies to amend and make good such defects and all expenses / damages / losses shall be recovered from the L-1 vendor besides imposing penalty as mentioned above. If the said incident is repeated two or more-times, Bank may cancel the contract and forfeit the PBG of the L-1 vendor. Further, the said vendor shall be black-listed. The same shall be intimated to Indian Banks' Association. The vendor is advised to ensure that the batteries are readily available as and when the Supply Order is issued by the Bank.

F. MINIMUM ELIGIBILITY CRITERIA AND DOCUMENTS TO BE SUBMITTED:

Bidders meeting the following criteria are eligible to submit their Bids along with supporting

documents. If the Bid is not accompanied by all the required documents supporting eligibility

criteria, the same would be rejected:

| S NO. | Eligibility Criteria | Documents to be submitted in the Technical Bid Envelope |
| --- | --- | --- |
| 1 | The vendor must be a Firm / Proprietary / Partnership / Company registered under Companies Act. | - Registration Certificate / Shop License / Certificate of incorporation issued by Registrar of Companies (whichever applicable). - PAN of Firm - GST Registration - OEM Authorization Certificate |
| 2 | The Vendor should have a minimum experience of three (03) years regarding supply and installation of UPS Batteries and Genset Batteries - Supplied and Installed Minimum 50 UPS batteries and 10 Genset batteries each during Financial Years 2021-22 and 2022-23, 2023-24. | Copy of the work orders and work completion certificates issued by the respective organization specifying following information relating to the works carried out during the period from 01/04/2021 to 31/03/2024: 1. Scope of work. 2. Contract value. 3. No. of batteries Supplied. 4. Duly certified Performance Certificate |
| 3 | The vendor should have a minimum average annual turnover of Rs.10.00 Lakhs for the last two Financial Years 2022-23 and 2023-24. | Duly Attested Certificate by CA to be enclosed. |
| 4 | The vendor should be a profit making firm during last two Financial Years 2022-23 and 2023-24. Net Profit after tax shall be considered. | Copies of the P&L Account and Balance Sheet (audited, if applicable).or Copies of ITR |
| 5 | The vendor should have a well maintained registered office in UT of J&K and should have enough staff to provide services in UT of J&K and UT of Ladakh. | Details of the office along with the staff should be provided |
| 6 | Vendor should not have been disqualified / debarred / blacklisted from any Governments, Semi-governments, PSUs, Banks or any other organization. | Declaration as per Annexure – 3 should be provided |

NOTE: Copies of all the relevant documents should be duly signed and stamped by the vendor and enclosed in Technical Bid Envelope along with tender document, EMD and receipt of Tender fees.

G. DOCUMENTS TO BE SUBMITTED IN COMMERCIAL BID ENVELOPE:

Commercial Bids only (No other document is required to be submitted with the Commercial Bid).

We have read and understood the abovementioned minimum eligibility criteria and shall abide by the same.

Annexure: 1

Technical Bid

Details of Items and its Specification to be supplied

| S. No | ITEM | SPECIFICATION | MAKE/S | MODEL NO. |
| --- | --- | --- | --- | --- |
| 1 | Sealed Maintenance Free Batteries for UPS with warranty of 02 years. | - 12V/ 18AH - 12V/ 26AH - 12V/ 42AH - 12V/ 65AH |  |  |
| 2 | Maintenance Free Batteries for Genset with warranty of 02 years. | - 12V/ 88AH |  |  |

Brands: Amaron, Exide

IMPORTANT NOTE: Rate must be furnished in the Financial Bid separately.

It is certified that all the information furnished above is true & correct and all terms & conditions stipulated in the Tender Document are acceptable.

Annexure: 2

DETAILS OF VENDOR AND CALL ESCALATION MATRIX

| S No. | Particulars | Details |
| --- | --- | --- |
| 1 | Name of Firm |  |
| 2 | Name of Authorized Signatory |  |
| 3 | Address of the Registered Office |  |
| 4 | Contact No. |  |
| 5 | E-Mail ID |  |
| 6 | Name of Contact Person / SPOC |  |
| 7 | Year of Establishment of Firm |  |
| 8 | PAN No. of Firm |  |
| 9 | GST No. of Firm |  |
| 10 | Bank Details (Payment shall be credited in this account) |  |
| 10 a | Account No |  |
| 10 b | Account Name |  |
| 10 c | IFSC Code |  |
| 10 d | Branch name |  |

Call Esclation Matrix

| S No. | Level | Name of Person | Contact Number | e-mail address |
| --- | --- | --- | --- | --- |
| 01 | Level - 1 |  |  |  |
| 02 | Level – 2 |  |  |  |
| 03 | Level – 3 |  |  |  |
| 04 | Level – 4 |  |  |  |
| 05 | Level – 5 |  |  |  |

Annexure: 3

DECLARATION

(To be given on Firm/ Company Letter Head)

To

The General Manager

J&K Grameen Bank

Head Office, Narwal

Jammu

Dear Sir,

- I/We have read and understood the contents of the Tender/Rate Contract and agree to abide by all the terms and conditions of this Tender.

- I/We also confirm that in the event of my/our tender being accepted, I/we hereby undertake that the EMD submitted by me/us shall be retained by the bank and shall be released after I/We have submitted Performance Guarantee as a pre-requisite for signing the Contract Agreement.

- I/ We also confirm and undertake that the documents attached and information provided by me/us to the bank in response to the Tender/ Rate Contract is/ are genuine to the best of my knowledge. In case any of the documents/ information is found to be false/ fake/incorrect/untrue or found violated, then Bank shall without giving any notice or reason therefore summarily reject the bid or terminate the contract, without prejudice to any other rights or remedy including the forfeiture of the full said earnest money deposit.

- I/We further undertake that none of the Proprietor/Partners/Directors of the firm/Company was or is Proprietor or Partner or Director of any firm/ Company with whom any Government Deptt/ PSU or Bank has blacklisted/ banned / suspended business dealing. I/We further undertake to report to the J&K Grameen Bank immediately after we are informed but in any case not later than 15 days, if any firm/Company in which Proprietor /Partners/Directors are Proprietor or Partner or Director of such a firm/Company which is blacklisted/banned/suspended in future during the currency of the Contract with you.

- I/We here by confirm and declare that we, M/S____________________________ have never been  blacklisted/De-registered by any Government department/ Public Sector Undertaking/ Private Sector/or any other agency for which we have executed/ undertaken the works/ services .

(Signature of the Vendor)

Name:

Date:

Designation:

Seal of the Firm/ Company

Annexure: 4

Details of Registered Office/s

COMPLETE ADDRESS: ______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Annexure: 5

Commercial Bid

1) Financial Bid for the Supply and Installation of UPS Batteries with buyback.

| S. No | Specifications | Per Battery Price (A) | Per Battery Buy back Price (B) | Per Battery Net Price C=(A-B) Excl. GST |
| --- | --- | --- | --- | --- |
| 1 | 12V/ 18AH |  |  |  |
| 2 | 12V/ 26AH |  |  |  |
| 3 | 12V/ 42AH |  |  |  |
| 4 | 12V/ 65AH |  |  |  |
|  | Total (D) |  |  | D= |

Financial Bid for the Supply and Installation of Genset Batteries with buyback.

| S. No | Specifications | Per Battery Price (A) | Per Battery Buy back Price (B) | Per Battery Net Price C=(A-B) Excl. GST |
| --- | --- | --- | --- | --- |
| 1 | 12V/ 88AH |  |  |  |
|  | Total |  |  |  |

** Rates quoted are inclusive of installation, testing, commissioning and all taxes duties, levies, inspection charges, freight up to site, insurance, local taxes, etc. excluding GST.

(Financial Bid for UPS & Genset Batteries shall be analyzed as L1 separately)

Rates shall be freezed for a period of 02 years we.f date of issue of Rate Contract Order by the Bank.

- Rates should be inclusive of all charges (including service charges, all other taxes etc.) and excluding GST.

- GST shall be paid as per the guidelines of GoI. L-1 vendor has to mention GST number, %age, amount on the bills.

- Rate Contract Period: 02 years w.e.f date of issue of Rate Contract Order.

- Warranty Period: 02 years w.e.f date of installation of batteries.

- All columns should be duly filled. In case there is mis-calculation, the bid shall be rejected.

- L-1 shall be declared on the basis of total cost per batteries (excluding GST) at D in case of UPS Batteries and C in case of Genset batteries.

(Signature of the Vendor)

Name:

Date:

Designation:

Seal of the Firm/ Company

Annexure: 6

CHECK LIST FOR TECHNICAL BID

| S NO. | List of Documents | Whether self-attested copy enclosed (Yes/No) | Page No. Where the documents Enclosed. |  | REMARKS |
| --- | --- | --- | --- | --- | --- |
| 1 | Duly Signed and Stamped Tender document |  |  |  |  |
| 2 | Receipt of Tran/UTR no. of Tender Fee. |  |  |  |  |
| 3 | TDR of Earnest Money Deposit |  |  |  |  |
| 4 | Bank details (Account No and Name, Bank name, IFSC code) |  |  |  |  |
| 5 | Copy of Registration Certificate (MSME, NSIC, DGSD) |  |  |  |  |
| 6 | Copy of PAN |  |  |  |  |
| 7 | Copy of GST Registration Certificate |  |  |  |  |
| 8 | Details of Financial Statements |  |  |  |  |
| 8 (a) | Balance Sheet for FY 2022-23 |  |  |  |  |
| 8 (b) | Balance Sheet for FY 2023-24 |  |  |  |  |
| 8 (c) | Profit & Loss Statement for FY 2022-23 |  |  |  |  |
| 8 (d) | Profit & Loss Statement for FY 2023-24 |  |  |  |  |
| 9 | Annual Turnover Certificate duly attested by CA |  |  |  |  |
| 10 | Income Tax Returns |  |  |  |  |
| 10 (a) | Assessment Year 2023-24 |  |  |  |  |
| 10 (b) | Assessment Year 2024-25 |  |  |  |  |
| 11 | Declaration regarding not-being blacklisted / debarred. |  |  |  |  |
| 12 | Declaration that the documents attached in response to this bid are genuine and bonafide |  |  |  |  |
| 13 | Experience Certificate issued by Scheduled Commercial Banks / Financial Institutions |  |  |  |  |
| 14 | Copy of Work orders and Work Completion Certificates issued by Scheduled Commercial Banks / Financial Institutions |  |  |  |  |
| 15 | Annexure – 1 |  |  |  |  |
| 16 | Annexure – 2 |  |  |  |  |
| 17 | Annexure – 3 |  |  |  |  |
| 18 | Annexure – 4 |  |  |  |  |
| 19 | OEM Authorization Certificate |  |  |  |  |

CHECK LIST FOR COMMERCIAL BID

| 1 | Annexure – 5 (enclosed in Commercial Bid envelope only) |  |  |  |
| --- | --- | --- | --- | --- |